## all
Type of product | Product name | Common battery type | Quantity | Picture (not in scale)
Jablotron battery type
JABLOTRON 100+
JA-63S-100 | Wireless combined smoke and heat detector | alkaline battery AA LR6 (1,5 V 2400 mAh) | 1
BAT-1V5-AA
JA-100K | Control panel | PB accumulator (12V 2,6Ah) | 1
SA214-2.6
JA-101K | Control panel | PB accumulator (12V 2,6Ah) | 1
SA214-2.6
JA-103K | Control panel | PB accumulator (12V 2,6Ah) | 1
SA214-2.6
JA-106K | Control panel | PB accumulator (12V 7-18Ah) | 1
SA214-XXX (7-18Ah)
JA-107K | Control panel | PB accumulator (12V 7-18Ah) | 1
SA214-XXX (7-18Ah)
JA-110A II | Internal siren | LiFePo4 (3,2V / 400mAh) | 1
BAT-3V2-CR
JA-111A-BASE-RB | Base of bus external (outdoor) siren | NiCd accumulator (4,8 V / 1800 mAh) | 1
BAT-4V8
JA-120N | The BUS module for electric door locks | NiMh AA HR6 Eneloop (1,2V / 1900mAh) | 3
BAT-1V2-NIMH.1
JA120Z | The BUS back-up booster unit | PB accumulator (12V 7-18Ah) | 1
SA214-XXX (7-18Ah)
JA-111ST-A | Bus combined smoke and heat detector | alkaline battery AA LR6 (1,5 V 2400 mAh) | 3
BAT-1V5-AA
JA-111ST | Bus combined smoke and heat detector | alkaline battery AA LR6 (1,5 V 2400 mAh) | 3
BAT-1V5-AA
JA-150E | Wireless keypad | lithium battery CR123A (3,0V) | 2
BAT-3V0-CR123A
JA-150A | Two way wireless internal siren | NiCd accumulator (3,6 V / 170 mAh) | 1
BAT-3V6-N170
JA-150IR | Wireless outdoor infrared barrier 60m | lithium battery LSH20 (3,6 V 13 Ah) | 4
BAT-3V6-R20
JA-150M | Wireless magnetic detector | alkaline battery AA LR6 (1,5 V 2400 mAh) | 1
BAT-1V5-AA
JA-150MB | Wireless magnetic detector - brown | alkaline battery AA LR6 (1,5 V 2400 mAh) | 1
BAT-1V5-AA
JA-150R | One-way signal repeater of JA-100 wireless components | NiCd accumulator (4,8 V / 900 mAh) | 1
BAT-4V8-N900
JA-150P | Wireless PIR detector | alkaline battery AA LR6 (1,5 V 2400 mAh) | 2
BAT-1V5-AA
JA-150TP | Wireless thermostat | alkaline battery AA LR6 (1,5 V 2400 mAh) | 2
BAT-1V5-AA
JA-150ST | Wireless fire and temperature detector | alkaline battery AA LR6 (1,5 V 2400 mAh) | 3
BAT-1V5-AA
JA-151A-BASE-RB | Base of the two way wireless external siren | NiCd accumulator (4,8 V / 1800 mAh) | 1
BAT-4V8
JA-151IR | Wireless outdoor infrared barrier 100m | lithium battery LSH20 (3,6 V 13 Ah) | 8
BAT-3V6-R20
JA-151M | Mini wireless magnetic detector | lithium battery CR2032 (3,0 V) | 1
BAT-3V0-CR2032
JA-151MB | Mini wireless magnetic detector - brown | lithium battery CR2032 (3,0 V) | 1
BAT-3V0-CR2032
JA-151P-WG | Wireless PIR motion detector | alkaline battery AA LR6 (1,5 V 2400 mAh) | 2
BAT-1V5-AA
JA-151P-WW | Wireless PIR motion detector | alkaline battery AA LR6 (1,5 V 2400 mAh) | 2
BAT-1V5-AA
JA-151ST | Wireless combined smoke and heat detector | alkaline battery AA LR6 (1,5 V 2400 mAh) | 3
BAT-1V5-AA
JA-151ST-A | Wireless combined smoke and heat detector | alkaline battery AA LR6 (1,5 V 2400 mAh) | 3
BAT-1V5-AA
JA-151TH | Wireless temperature detector | lithium battery CR2032 (3,0 V) | 1
BAT-3V0-CR2032
JA-152A | Wireless internal siren to AC socket | LiFePo4 (3,2V / 400mAh) | 1
BAT-3V2-CR
JA-152E | Wireless access module with RFID | alkaline battery AA LR6 (1,5 V 2400 mAh) | 2
BAT-1V5-AA
JA-152J MS | Bi-directional two-button keyfob | lithium battery CR2032 (3,0 V) | 1
BAT-3V0-CR2032
JA-152NM | Wireless handle lock with magnetic detector | alkaline battery AA LR6 (1,5 V 2400 mAh) | 2
BAT-1V5-AA
JA-152P | Wireless PIR motion detector | lithium battery CR123A (3,0V) | 1
BAT-3V0-CR123A
JA-153E | Wireless access module with RFID and keypad | alkaline battery AA LR6 (1,5 V 2400 mAh) | 2
BAT-1V5-AA
JA-154E | Wireless access module with display, keyboard and RFID | alkaline battery AA LR6 (1,5 V 2400 mAh) | 4
BAT-1V5-AA
JA-154J | Remote control - four buttons | lithium battery CR2032 (3,0 V) | 1
BAT-3V0-CR2032
JA-154J MS | Bi-directional four-button keyfob | lithium battery CR2032 (3,0 V) | 1
BAT-3V0-CR2032
JA-155P | Wireless ceiling PIR detector | lithium battery CR123A (3,0V) | 2
BAT-3V0-CR123A
JA-157P | Wireless outdoor dual zone motion detector | lithium battery CR123A (3,0V) | 1
BAT-3V0-CR123A
JA-158P | Wireless outdoor dual zone motion detector | lithium battery CR123A (3,0V) | 3
BAT-3V0-CR123A
JA-159P | Wireless outdoor dual zone motion detector | lithium battery CR123A (3,0V) | 3
BAT-3V0-CR123A
JA-160PC | Wireless PIR motion detector with camera | alkaline battery AA LR6 (1,5 V 2400 mAh) | 2
BAT-1V5-AA
JA-160PC (90) | Wireless PIR motion detector with 90° camera | alkaline battery AA LR6 (1,5 V 2400 mAh) | 2
BAT-1V5-AA
JA-162A | Wireless indoor siren for electrical sockets | NiCd accumulator (3,6 V / 170 mAh) | 1
BAT-3V6-N170
JA-162PW | Wireless dual PIR & MW motion detector | lithium battery CR123A (3,0V) | 2
BAT-3V0-CR123A
JA-162J | One-way two-button keyfob | lithium battery CR2032 (3,0 V) | 1
BAT-3V0-CR2032
JA-163A | Wireless external siren | lithium battery (3.6V, 13Ah 1xD) | 1
BAT-100A
JA-164J | One-way four-button keyfob | lithium battery CR2032 (3,0 V) | 1
BAT-3V0-CR2032
JA-180A | Wireless external siren | alkaline battery C LR14 (1,5 V 7700 mAh) | 5
Battery holder BH-80A
JA-180B | Wireless acoustic glass-break detector | lithium battery LS(T)14500 (3,6V AA / 2,4 Ah) | 1
BAT-3V6-AA-LS
JA-180IR | Wireless infra-red barrier | lithium battery LSH20 (3,6 V 13 Ah) | 4
BAT-3V6-R20
JA-180P | Wireless PIR detector | lithium battery LS(T)14500 (3,6V AA / 2,4 Ah) | 1
BAT-3V6-AA-LS
JA-180PB | Wireless PIR and glass break combined detector | lithium battery LS(T)14500 (3,6V AA / 2,4 Ah) + LS14250 (3.6V ½ AA / 1,2 Ah) | 1+1
BAT-3V6-AA-LS BAT-3V6-1/2AA-LS
JA-180W | Wireless PIR and MW combined detector | lithium battery LS(T)14500 (3,6V AA / 2,4 Ah) | 1
BAT-3V6-AA-LS
JA-181M | Wireless magnetic detector | lithium battery LS(T)14500 (3,6V AA / 2,4 Ah) | 1
BAT-3V6-AA-LS
JA-182J | Wireless control | lithium battery CR2032 (3,0 V) | 1
BAT-3V0-CR2032
JA-182M | Wireless invisible magnetic detector | lithium battery CR2354 (3,0 V 1Ah) | 2
BAT-3V0-CR2354
JA-182SH | Wireless shock or tilt detector | lithium battery CR123A (3,0V) | 1
BAT-3V0-CR123A
JA-183M | Wireless magnetic detector - mini | lithium battery CR123A (3,0V) | 1
BAT-3V0-CR123A
JA-183MB | Wireless magnetic door detector brown | lithium battery CR123A (3,0V) | 1
BAT-3V0-CR123A
JA-183P | Mini wireless PIR detector | lithium battery CR123A (3,0V) | 1
BAT-3V0-CR123A
JA-185B | Wireless glass break detector | lithium battery LS(T)14500 (3,6V AA / 2,4 Ah) | 1
BAT-3V6-AA-LS
JA-185P | Wireless ceiling PIR detector | lithium battery LS(T)14500 (3,6V AA / 2,4 Ah) | 1
BAT-3V6-AA-LS
JA-185ST | Wireless combined smoke and heat detector | alkaline battery AA LR6 (1,5 V 2400 mAh) | 3
BAT-1V5-AA
JA-186JK | Keyfob remote control - black | alkaline battery L1016 (6,0 V / 0,05 Ah) | 1
BAT-6
JA-186JW | Keyfob remote control - white | alkaline battery L1016 (6,0 V / 0,05 Ah) | 1
BAT-6
JA-186P | Wireless dual PIR indoor detector | lithium battery LS(T)14500 (3,6V AA / 2,4 Ah) | 1
BAT-3V6-AA-LS
JA-187J | Wireless wrist button | lithium battery CR2032 (3,0 V) | 1
BAT-3V0-CR2032
JA-187P | Dual zone outdoor wireless motion detector - curtain | lithium battery LS(T)14500 (3,6V AA / 2,4 Ah) | 1
BAT-3V6-AA-LS
JA-188J | Wireless panic button | lithium battery LS14250 (3.6V ½ AA / 1,2 Ah) | 1
BAT-3V6-1/2AA-LS
JA-188P | Wireless outdoor PIR detector | lithium battery LS(T)14500 (3,6V AA / 2,4 Ah) | 3
BAT-3V6-AA-LS
JA-189J | Wireless doorbell button | alkaline battery L1016 (6,0 V / 0,05 Ah) | 1
BAT-6
JB-EXT-TH-R | Wireless outdoor temperature detector | lithium battery CR123A (3,0V) | 2
BAT-3V0-CR123A
JABLOTRON 80 - Oasis
JA-63S-80 | Wireless smoke detector with temperature sensor | alkaline battery AA LR6 (1,5 V 2400 mAh) | 1
BAT-1V5-AA
JA-80A | Wireless outdoor siren | alkaline battery C LR14 (1,5 V 7700 mAh) | 5
Battery holder BH-80A
JA-80IR | Wireless infra red barrier | lithium battery LSH20 (3,6 V 13 Ah) | 4
BAT-3V6-R20
JA-80P | Wireless PIR detector | lithium battery LS(T)14500 (3,6V AA / 2,4 Ah) | 1
BAT-3V6-AA-LS
JA-80PB | Wireless PIR and glass break combined detector | lithium battery LS(T)14500 (3,6V AA / 2,4 Ah) + LS14250 (3.6V ½ AA / 1,2 Ah) | 1+1
BAT-3V6-AA-LS BAT-3V6-1/2AA-LS
JA-80W | Wireless PIR and MW combined detector | lithium battery LS(T)14500 (3,6V AA / 2,4 Ah) | 1
BAT-3V6-AA-LS
JA-81F | Wireless keypad | lithium battery CR123A (3,0V) | 2
BAT-3V0-CR123A
JA-81F-RGB | Wireless keypad RGB | lithium battery CR123A (3,0V) | 2
BAT-3V0-CR123A
JA-81M | Wireless magnetic detector | lithium battery LS(T)14500 (3,6V AA / 2,4 Ah) | 1
BAT-3V6-AA-LS
JA-81MB | Wireless magnetic detector - brown | lithium battery LS(T)14500 (3,6V AA / 2,4 Ah) | 1
BAT-3V6-AA-LS
JA-82K | Control panel | PB accumulator (12V 2,6Ah) | 1
SA214-2,6
JA-82M | Wireless invisible magnetic detector | lithium battery CR2354 (3,0 V 1 Ah) | 2
BAT-3V0-CR2354
JA-82SH | Wireless shock or tilt detector | lithium battery CR123A (3,0V) | 1
BAT-3V0-CR123A
JA-82ST | Wireless smoke detector with temperature sensor | alkaline battery AA LR6 (1,5 V 2400 mAh) | 3
BAT-1V5-AA
JA-83K | Control panel | PB accumulator (12V 7-18Ah) | 1
SA214-XXX (7-18Ah)
JA-83M | Mini wireless magnetic detector | lithium battery CR123A (3,0V) | 1
BAT-3V0-CR123A
JA-83MB | Mini wireless magnetic detector - brown | lithium battery CR123A (3,0V) | 1
BAT-3V0-CR123A
JA-83P | Mini wireless PIR detector | lithium battery CR123A (3,0V) | 1
BAT-3V0-CR123A
JA-84P | Wireless PIR detector with camera | lithium battery CR123A (3,0V) | 2
BAT-3V0-CR123A
JA-85B | Wireless glass break detector | lithium battery LS(T)14500 (3,6V AA / 2,4 Ah) | 1
BAT-3V6-AA-LS
JA-85P | Wireless ceiling PIR detector | lithium battery LS(T)14500 (3,6V AA / 2,4 Ah) | 1
BAT-3V6-AA-LS
JA-85ST | Wireless combined smoke and heat detector | alkaline battery AA LR6 (1,5 V 2400 mAh) | 3
BAT-1V5-AA
JA-86P | Wireless dual PIR detector | lithium battery LS(T)14500 (3,6V AA / 2,4 Ah) | 1
BAT-3V6-AA-LS
JA-87P | Wireless outdoor PIR detector - curtain | lithium battery LS(T)14500 (3,6V AA / 2,4 Ah) | 1
BAT-3V6-AA-LS
JA-88P | Wireless outdoor PIR detector | lithium battery LS(T)14500 (3,6V AA / 2,4 Ah) | 1
BAT-3V6-AA-LS
JA-89P | Wireless outdoor PIR detector | lithium battery LS(T)14500 (3,6V AA / 2,4 Ah) | 1
BAT-3V6-AA-LS
OS-365A | Outdoor siren | NiCd accumulator (4,8 V / 1800 mAh) | 1
BAT-4V8
RC-80K | Keyfob 4/2 buttons | alkaline battery L1016 (6,0 V / 0,05 Ah) | 1
BAT-6
RC-82 | Keyfob two buttons | lithium battery CR2032 (3,0 V) | 1
BAT-3V0-CR2032
RC-86K | Remote control dual band 868/433 MHz - black | alkaline battery L1016 (6,0 V / 0,05 Ah) | 1
BAT-6
RC-86W | Remote control dual band 868/433 MHz - white | alkaline battery L1016 (6,0 V / 0,05 Ah) | 1
BAT-6
RC-87 | Panic button | lithium battery CR2032 (3,0 V) | 1
BAT-3V0-CR2032
RC-88 | Wireless panic trigger or ON/OFF wall button | lithium battery LS14250 (3.6V ½ AA / 1,2 Ah) | 1
BAT-3V6-1/2AA-LS
RC-89 | Wireless door bell button | alkaline battery L1016 (6,0 V / 0,05 Ah) | 1
BAT-6
TP-82 | Wireless thermostat | alkaline battery AA LR6 (1,5 V 2400 mAh) | 1
BAT-1V5-AA
TP-82N | Wireless thermostat | alkaline battery AA LR6 (1,5 V 2400 mAh) | 2
BAT-1V5-AA
TP-83 | Programmable wireless thermostat | alkaline battery AA LR6 (1,5 V 2400 mAh) | 1
BAT-1V5-AA
TP-83N | Programmable wireless thermostat | alkaline battery AA LR6 (1,5 V 2400 mAh) | 2
BAT-1V5-AA
JABLOTRON 60 - Profi
JA-60A | Wireless external siren | Pb accumulator (6V/1.3Ah) | 1
SA206-1.3
JA-60B | Glass break detector | alkaline battery AAA (1,5V) | 2
BAT-1V5-AAA
JA-60F | Wireless keypad | alkaline battery AAA (1,5V) | 4
BAT-1V5-AAA
JA-60IR | Wireless infra-red barrier | lithium battery typ ER 34615H (3,6 V / 19 Ah) | 2
BAT-60IR
JA-60V | Wireless outdoor dual zone motion detector | alkaline battery AAA (1,5V) | 2
BAT-1V5-AAA
JA-60N | Wireless magnetic detector | alkaline battery AAA (1,5V) | 2
BAT-1V5-AAA
JA-60NB | Wireless magnetic detector - brown | alkaline battery AAA (1,5V) | 2
BAT-1V5-AAA
JA-60P | Wireless PIR detector | alkaline battery AAA (1,5V) | 2
BAT-1V5-AAA
JA-63A | Backup wireless outdoor siren | Pb accumulator (6V/1.3Ah) | 1
SA206-1.3
JA-63F | Wireless keypad | alkaline battery AAA (1,5V) | 4
BAT-1V5-AAA
JA-63KR | Control panel | PB accumulator (12V 2,6Ah) | 1
SA214-2,6
JA-63S | Wireless combined smoke and heat detector | alkaline battery AA LR6 (1,5 V 2400 mAh) | 1
BAT-1V5-AA
JA-63ST | Wireless combined smoke and heat detector | alkaline battery AA LR6 (1,5 V 2400 mAh) | 3
BAT-1V5-AA
JA-65ST | Wireless combined smoke and heat detector | alkaline battery AA LR6 (1,5 V 2400 mAh) | 3
BAT-1V5-AA
RC-11 | Keyfob remote control, two buttons | alkaline battery L1016 (6,0 V / 0,05 Ah) | 1
BAT-6
RC-22 | Wireless wall button | alkaline battery L1016 (6,0 V / 0,05 Ah) | 1
BAT-6
RC-28 | Wireless door bell button | alkaline battery L1016 (6,0 V / 0,05 Ah) | 1
BAT-6
RC-60 | Remote control | alkaline battery AAA (1,5V) | 2
BAT-1V5-AAA
RC-86K | Remote control dual band 868/433 MHz - black | alkaline battery L1016 (6,0 V / 0,05 Ah) | 1
BAT-6
RC-86W | Remote control dual band 868/433 MHz - white | alkaline battery L1016 (6,0 V / 0,05 Ah) | 1
BAT-6